These estimates are not including extras such as scaffolding to carry out the work.

Boiler repairs:

Estimated cost = £3,000

Repair carpark + steps

Estimated cost = £15,750

Repair/repoint brick work + windows: Estimated cost £6,000

Repair/replace parapet stones

Estimated cost = £5,000

Repair/replace Guttering + downpipes:

Estimated cost £?

Repair glass in windows: Estimated cost £18,000

Repair plaster:

Estimated cost £45,000

Repair roof: Estimated cost

£30,000 - £80,000

Repair mortar flaunching with lead: Estimated cost £3,000